Company/Vendor Logo Here

Color Soft Proofing “Display” Certification

Application Data Sheet

Color Soft Proofing “Display” Name Here

(include 1.Certification category in name, Display and 2.Intended calibration conidtions; the default conditions will be 160 cd/m2 luminance, 2.2 gamma, and CIE chromaticity x=0.3478, y=0.3595 of D50/2 degree observer)

Note: Applicant may request alternative calibration conditions for preferred display operation.

The Idealliance Print Properties Working Group has established a certification process for display-based softproofing. In accordance with this process the appearance of a display proof must closely simulate the identified reference characterization data sets within tolerances outlined in this document.

NOTE:  It is important to understand that performing certification on any one display with any one display-based proofing system does not necessarily guarantee the same result on a different display of the same model.  Idealliance therefore recommends that in addition to calibrating each display routinely, users should verify the uniformity of the display over time as well.  Display proofing systems vendors should provide a display uniformity test with their system and provide software to automate that test process for users.

The following information is intended to assist producers and consumers in the use of vendor specified proofing materials in a display-based proofing application:

I. Manufacturer

Manufacturer’s name and address is listed here.

Manufacturer’s technical contact information should be listed here too.

II. Product

This must be a unique descriptor of the display to be certified. Specify the software and name/model# of the display as: Manufacturer/System – Software – Display Type – Certification Category

III. Introduction

Introductory statements are left to the manufacturer’s discretion to identify or explain purpose and use of the product.  This must not include advertising of the display’s supposed attributes and benefits, but rather be a simple description of the display technology and uses.

IV. Display Setup and Calibration Procedures

Here the manufacturer should indicate the manual or automatic procedure for performing setup, warmup, and calibration (software and hardware) of the Display with detail steps for the user to follow so the certified conditions of the Display can be achieved. Display’s maintenance procedure should also be included to ensure consistent and long term performance of the Display.

V. Display Components

This section shall include a list of all components included with the display including the supported measuring device(s).

VI. Certified Display Characteristics

The color stability, tone uniformity, and angular viewing consistency of the certified display should be compliant with the aims and tolerances referenced in the Idealliance Soft Proofing Certification Protocol 2016v9 under which this display was certified.

Note: The verbal forms of should and shall are used to indicate requirements strictly to be followed in order to conform to the document and from which no deviation is permitted i.e. shall “is required” and should “is recommended”.

VII. Proof of Certification

(XXX Vendor) has had this display verified that it conforms to this Application Data Sheet by an Idealliance certifying contractor.